## Pseudomonas Summary
Site | 6-monthly test | 6-monthly test | Total tests per year
RLI incl. QVH | 154 | 154 | 308
FGH incl. Millom H | 136 | 136 | 272
WGH | 36 | 36 | 72
TOTAL | 326 | 326 | 652

## RLI
Pseudomonas Sampling Location
1 | Ward 35 Respiratory Bed 18 WHB
2 | Ward 35 Respiratory Bed 1 WHB
3 | Sterile Area Radiology Procedure Room Day Care Unit Sink
4 | Sterile Area Radiology Procedure Room Day Care Unit WHB
5 | Neo Natal Treatment Room WHB
6 | Neo Natal Small Nursery to left of Main Nursery WHB
7 | Neo Natal Main Nursery (B) Left
8 | Neo Natal Main Nursery (A) Right
9 | Neo Natal Special Baby Care Room WHB
10 | Neo Natal Milk Kitchen Equipment WHB
11 | Neo Natal Milk Kitchen WHB
12 | Maternity Central Suite Birthing Pool WHB
13 | Maternity Central Suite Birthing Pool Pool Mix
14 | Maternity Theatre 2 Scrub Sink 2 WHB
15 | Maternity Theatre 2 Scrub Sink 1 WHB
16 | Maternity Theatre 1 Scrub Sink 2 WHB
17 | Maternity Theatre 1 Scrub Sink 1
18 | Ward 1 Patient Toilet WHB
19 | Ward 1 End of Ward WHB
20 | Ward 1 Opposite Reception WHB
21 | Ward 1 Echocardiology WHB
22 | Ward 1 Waiting Room WHB Mixed
23 | Ward 1 John Dyer Clinic Room
24 | Children's Ward 32 Entrance to Ward WHB
25 | Children's Ward 32 Kitchen Sink Cold
26 | Children's Ward 32 Kitchen Sink WHB
27 | Children's Ward 32 Kitchen Sink Hot
28 | Children's Ward 32 Clean Utility WHB
29 | Children's Ward 32 Milk Preparation Cold
30 | Children's Ward 32 Milk Preparation Hot
31 | Children's Ward 32 Milk Preparation WHB
32 | Children's Ward 32 Bed 15 WHB
33 | Children's Ward 32 Bed 2 WHB
34 | Huggett Suite Room 1 WHB
35 | Huggett Suite Room 2 WHB
36 | Huggett Suite Room 3 WHB
37 | Huggett Suite Room 4 WHB
38 | Huggett Suite Assessment Room WHB
39 | Huggett Suite Clean Utility WHB
40 | Huggett Suite Room 6 WHB
41 | Huggett Suite Stroke MDT Room 5WHB
42 | Huggett Suite Dirty Utility WHB
43 | ICU Kitchen Sink at Front RHS WHB
44 | ICU Kitchen Sink at Front RHS Cold
45 | ICU Kitchen Sink at Front RHS Hot
46 | ICU Sluice Cold
47 | ICU Sluice Hot
48 | ICU Kitchen Staff Sink at Back Mixed
49 | ICU Drug Prep Area Sink WHB
50 | ICU Sluice WHB
51 | ICU Bed 8 Sink Left of Door WHB
52 | ICU Bed 7 Sink WHB
53 | ICU Beds 4+5 Sink WHB
54 | ICU Beds 2+3 Sink WHB
55 | ICU Bed 1 Sink WHB
56 | Day Case Theatre Anesthetic Room 2 WHB
57 | Day Case Theatre 2 Scrub Sink 3 WHB
58 | Day Case Theatre 2 Scrub Sink 2 WHB
59 | Day Case Theatre 2 Scrub Sink 1 WHB
60 | Day Case Theatre Anesthetic Room 1
61 | Day Case Theatre 1 Scrub Sink 3 WHB
62 | Day Case Theatre 1 Scrub Sink 2 WHB
63 | Day Case Theatre 1 Scrub Sink 1 WHB
64 | Centenary Theatre 4 Scrub Tap 2 WHb
65 | Centenary Theatre 4 Scrub Tap 1 WHB
66 | Centenary Theatre 4 Anesthetic Room 4
67 | Centenary Theatre 5 Scrub Tap 3 WHB
68 | Centenary Theatre 5 Scrub Tap 2 WHB
69 | Centenary Theatre 5 Scrub Tap 1 WHB
70 | Centenary Theatre 5 Anesthetic Room 3
71 | Centenary Theatre 2 Scrub Tap 3 WHB
72 | Centenary Theatre 2 Scrub Tap 2 WHB
73 | Centenary Theatre 2 Scrub Tap 1 WHB
74 | Centenary Theatre 2 Anesthetc Room 2
75 | Centenary Theatre 1 Scrub Tap 3 WHB
76 | Centenary Theatre 1 Scrub Tap 2 WHB
77 | Centenary Theatre 1 Scrub Tap 1 WHB
78 | Centenary Theatre 1 Anesthetic Room 1 WHB
79 | Lancaster Suite Bed 6 Shower WHB
80 | Lancaster Suite Bed 6 Room WHB
81 | Lancaster Suite Bed 5 Shower WHB
82 | Lancaster Suite Bed 5 Room WHB
83 | Lancaster Suite Bed 4 Shower WHB
84 | Lancaster Suite Bed 4 Room WHB
85 | Lancaster Suite Bed 24-28 Shower WHB
86 | Lancaster Suite Bed 24-28 Room WHB
87 | Lancaster Suite Bed 19-23 Shower WHB
88 | Lancaster Suite Bed 19-23 Room WHB
89 | Lancaster Suite Bed 14-18 Shower WHB
90 | Lancaster Suite Bed 14-18 Room WHB
91 | Lancaster Suite Bed 9-13 Shower WHB
92 | Lancaster Suite Bed 9-13 Room WHB
93 | Lancaster Suite Bed 8 Shower WHB
94 | Lancaster Suite Bed 8 Room WHB
95 | Lancaster Suite Bed 7 Shower WHB
96 | Lancaster Suite Bed 7 Room WHB
97 | Lancaster Suite Bed 3 Shower WHB
98 | Lancaster Suite Bed 3 Room WHB
99 | Lancaster Suite Bed 2 Shower WHB
100 | Lancaster Suite Bed 2 Room WHB
101 | Lancaster Suite Bed 1 Shower WHB
102 | Lancaster Suite Bed 1 Room WHB
103 | CCU Dirty Utility WHB
104 | CCU Treatment Room WHB
105 | CCU Beds 9-11 Shower WHB
106 | CCU Bed 9-11 Room WHB
107 | CCU Bed 8 Shower WHB
108 | CCU Bed 8 Room WHB
109 | CCU Beds 5-7 Shower WHB
110 | CCU Beds 5-7 Room WHB
111 | CCU Bed 4 Shower WHB
112 | CCU Bed 4 Room WHB
113 | CCU Bed 3 Shower WHB
114 | CCU Bed 3 Room WHB
115 | CCU Clean Utility WHB
116 | CCU Bed 2 Shower WHB
117 | CCU Bed 2 Room WHB
118 | CCU Bed 1 Shower WHB
119 | CCU Bed 1 WHB Room
120 | Urology Entrance Toilet WHB
121 | Urology Kitchen WHB
122 | Urology Clinic 1 WHB
123 | Urology Clinic 2 WHB
124 | Urology Clinic 3 WHB
125 | Urology Clinic 4 WHB
126 | Urology Flex Cysto Room WHB
127 | Urology Procedure Scrub Trough WHB
128 | Urology Procedure Scrub WHB
129 | Urology Clean Utility WHB
130 | Urology Flex Clean WHB
131 | Urology Ultrasound WHB
132 | Urology Urodynamics WHB
133 | Urology Patient Toilet 1 WHB
134 | Ward 3 Oncology Area Outside Kitchen WHB
135 | Ward 3 Oncology Patient Toilet WHB
136 | Ward 3 Oncology Disabled Toilet WHB
137 | Ward 3 Oncology A170+Patient Kitchen Cold
138 | Ward 3 Oncology Phlebotomy WHB
139 | Ward 3 Oncology Consulting RM 1 WHB
140 | Ward 3 Oncology Consulting RM 2 WHB
141 | Ward 3 Oncology Consulting RM 3 WHB
142 | Ward 3 Oncology Consulting RM 4 WHB
143 | Ward 3 Oncology Consulting RM 5 WHB
144 | Ward 3 Oncology Consulting RM 6 WHB
145 | Ward 3 Oncology Consulting RM 7 WHB
146 | Ward 3 Oncology Consulting RM 8 WHB
147 | Ward 3 Oncology Consulting RM 9 WHB
148 | Ward 3 Oncology Consulting RM 10 WHB
149 | Ward 3 Oncology Disabled Toilet WHB
150 | Ward 3 Oncology Disabled Toilet WHB
151 | Ward 3 Oncology Procedure Room WHB
152 | Ward 3 Oncology Treatment Bays WHB
153 | Ward 3 Oncology Treatment Bays WHB
154 | Ward 3 Oncology Clean Utility WHB
154 | TOTAL

## FGH
Pseudomonas Sampling Location
1 | ICU Kitchen / Staff Room Sink 4720 Cold
2 | ICU Sluice WHB 4268
3 | ICU Bed 2 Anti Room WHB Mixed
4 | ICU 4257 WHB
5 | ICU Bay 1 Far from Door WHB
6 | ICU Bay 1 Close to Door WHB
7 | ICU 4260 Store Room
8 | ICU 4263 Hub Cold
9 | ICU 4263 WHB Hot
10 | ICU Bed 1 Anti Room Mixed
11 | ICU 4283A Cold
12 | ICU 4283A Hot
13 | ICU 4272 Mixed
14 | ICU 4270 Mixed
15 | ICU Domestic Room Sink 2 4723
16 | ICU Domestic Room Sink 1 4723
17 | ICU Relatives Room WHB 4722A
18 | ICU Kitchen / Staff Room Sink 4720
19 | ICU Main Unit Sink WHB 2 4715
20 | ICU Main Unit Sink WHB 1 4715
21 | ICU 1 Bed Bay WHB 4714
22 | ICU Clinical Room WHB 4713
23 | ICU 1 Bed Bay WHB 4712
24 | ICU Dirty Utility Sink 4711
25 | Ward 6 Male Assisted Shower 1
26 | Ward 6 Kitchen WHB
27 | CSSD Endoscopy Dirty Goods Sink 3115
28 | Coniston Suite Ensuite Shower 6025A
29 | Coniston Suite Ensuite WHB 6025A
30 | Coniston Suite Bed Room WHB 6025
31 | Coniston Suite Ensuite Shower 6024A
32 | Coniston Suite Ensuite WHB 6024A
33 | Coniston Suite Bed Room WHB 6024
34 | Coniston Suite Ensuite Shower 6023A
35 | Coniston Suite Ensuite WHB 6023A
36 | Coniston Suite Bed Room WHB 6023
37 | Coniston Suite Ensuite Shower 6020A
38 | Coniston Suite Ensuite WHB 6020A
39 | Coniston Suite Bed Room WHB 6020
40 | Coniston Suite Ensuite Shower 6019A
41 | Coniston Suite Ensuite WHB 6019A
42 | Coniston Suite Bed Room WHB 6019
43 | Coniston Suite Kitchen Sink Cold 6007
44 | Coniston Suite Kitchen Sink Hot 6007
45 | Coniston Suite Kitchen WHB Cold 6007
46 | Coniston Suite Kitchen WHB Hot 6007
47 | Theatre Scrub Room 7 Sink 3 4805
48 | Theatre Scrub Room 7 Sink 2 4805
49 | Theatre Scrub Room 7 Sink 1 4805
50 | Theatre Scrub Room 6 Sink 3 4793
51 | Theatre Scrub Room 6 Sink 2 4793
52 | Theatre Scrub Room 6 Sink 1 4793
53 | Theatre Scrub Room 5 Sink 3 4785
54 | Theatre Scrub Room 5 Sink 2 4785
55 | Theatre Scrub Room 5 Sink 1 4785
56 | Theatre Scrub Room 4 Sink 3 4773
57 | Theatre Scrub Room 4 Sink 2 4773
58 | Theatre Scrub Room 4 Sink 1 4773
59 | Theatre Scrub Room 3 Sink 3 4763
60 | Theatre Scrub Room 3 Sink 2 4763
61 | Theatre Scrub Room 3 Sink 1 4763
62 | Theatre Scrub Room 2 Sink 3 4753
63 | Theatre Scrub Room 2 Sink 2 4753
64 | Theatre Scrub Room 2 Sink 1 4753
65 | Theatre Scrub Room 1 Sink 3 4745
66 | Theatre Scrub Room 1 Sink 2 4745
67 | Theatre Scrub Room 1 Sink 1 4745
68 | PPU Patients Toilet WHB 5149
69 | Oncology Restroom WHB 4981
70 | Oncology Domestic Room Slop Sink Cold 4971
71 | Oncology Treatment Room WHB 2
72 | Oncology Patients Toilet WHB 4995
73 | Oncology Corridor WHB 4C92
74 | Oncology Patients Toilet WHB 4994
75 | Oncology Staff Room WHB 4993
76 | Oncology Staff Room Sink Cold 4993
77 | Oncology Staff Room Sink Hot 4993
78 | Oncology Change Room WHB 4992
79 | Oncology Dirty Utility WHB Mixed 4991
80 | Oncology Dirty Utility Sink Cold 4991
81 | Oncology Dirty Utility Sink Hot 4991
82 | Oncology Clean Utility Sink 4972B
83 | Oncology Day Room Treatment Area WHB 4972A
84 | Oncology Day Room WHB 4972
85 | Oncology Domestic Room Slop Sink 4971
86 | Oncology Treatment Room WHB 4997A
87 | Oncology Treatment Rom WHB 4988B
88 | Oncology Treatment Room Sink 4988B
89 | Oncology WC WHB 4988A
90 | Oncology Clean Utility Sink 4974
91 | Oncology Treatment Room WHB 4976
92 | Oncology Corridor to 4978 WHB 2 4C92B
93 | Oncology Examination Room WHB 4978
94 | Oncology Corridor to 4980 WHB 1 4C92B
95 | Oncology Examination Room WHB 4980
96 | Oncology Treatment Room WHB 4982
97 | Oncology WC WHB 4983
98 | Oncology WC WHB 4984
99 | Oncology Treatment Room WHB 4985
100 | Oncology Pantry Sink Cold 4989
101 | Oncology Pantry Sink Hot 4989
102 | Oncology Pantry WHB Mixed 4989
103 | HDU Ensuite WHB 6112A
104 | HDU Ensuite Shower 6112A
105 | HDU Lobby WHB 6111
106 | HDU Clinical Room WHB 6110
107 | HDU Shower WHB 6109
108 | HDU Shower 6109
109 | HDU Toilet WHB 6108
110 | HDU Toilet WHB Cold 6107
111 | HDU Toilet WHB Hot 6107
112 | HDU Toilet WHB Cold 6106
113 | HDU Toilet WHB Hot 6106
114 | HDU Bed Room WHB 6105B
115 | HDU Bed Room WHB 6105A
116 | HDU Kitchen Sink Cold 6094
117 | HDU Kitchen Sink Hot 6094
118 | HDU Staff Toilet WHB 6090
119 | SLBC Birthing Pool Room 4 Hot 41016
120 | SLBC Birthing Pool Room 3 Hot 41018
121 | SLBC Birthing Pool Room 2 Hot 41019
122 | SLBC Birthing Pool Room 1 Hot 41021
123 | SLBC Birthing Pool Room 4 Cold 41016
124 | SLBC Birthing Pool Room 3 Cold 41018
125 | SLBC Birthing Pool Room 2 Cold 41019
126 | SLBC Birthing Pool Room 1 Cold 41021
127 | SLBC SCBU Ensuite Shower 41074A
128 | SLBC SCBU Ensuite WHB 41074A
129 | SLBC SCBU Transitional Care WHB 41074
130 | SLBC SCBU Single Cot Bay WHB 41073A
131 | SLBC SCBU 3 Cot Bay WHB 2 41073
132 | SLBC SCBU 3 Cot Bay WHB 1 41073
133 | SLBC SCBU Special Care Stabilization Room WHB 41072
134 | SLBC Theatres 41051 Scrub Room Sink 3
135 | SLBC Theatres 41051 Scrub Room Sink 2
136 | SLBC Theatres 41051 Scrub Room Sink 1
136 | TOTAL

## WGH
Pseudomonas Sampling Location
1 | Surgical Centre Scrub Room RH
2 | Surgical Centre Scrub Room LH
3 | Theatre 4 Scrub Room RH
4 | Theatre 4 Scrub Room LH
5 | Theatre 3 Scrub RH
6 | Theatre 3 Scrub Middle
7 | Theatre 3 Scrub LH
8 | Theatre 2 Scrub RH
9 | Theatre 2 Scrub Middle
10 | Theatre 2 Scrub LH
11 | Macular Unit Injection Room 2 4177 Mixer
12 | Macular Unit Treatment Room 4166 Mixer
13 | Helm Chase Ward Birthing Pool Room 3146 Basin
14 | Helm Chase Ward Birthing Pool Room 3146 Pool Single Fill
15 | Helm Chase Ward Birthing Pool Room 3146 Pool Taps
16 | Helm Chase Ward Birthing Pool Room 3146 Shower
17 | Grizedale Cardiac Rehabilitation Room 4121 WHB
18 | Grizedale Toilet Room 4122 WHB Cold
19 | Grizedale Toilet Room 4122 WHB Hot
20 | Grizedale Toilet WC Room 4123B WHB Cold
21 | Grizedale Toilet WC Room 4123B WHB Hot
22 | Grizedale Complimentary Therapy Room 4123A Worktop Sink
23 | Grizedale Complimentary Therapy Room 4123A WHB
24 | Grizedale Phlebotomy Room 4124 WHB
25 | Grizedale Treatment Room Room 4125 WHB
26 | Grizedale Clean Utility Room 4125A WHB
27 | Grizedale Male WC Room 4125B WHB Cold
28 | Grizedale Male WC Room 4125B WHB Hot
29 | Grizedale Female WX Room 4125C WHB
30 | Grizedale Dirty Utility Room 4125D Worktop Sink
31 | Grizedale Dirty Utility Room 4125D WHB
32 | Grizedale Kitchen Room 4128 WHB
33 | Grizedale Kitchen Room 4128 Worktop Sink
34 | Grizedale Exam Room 2 4129 WHB
35 | Grizedale Office Room 4130 WHB
36 | Grizedale Exam Room 1 4131 WHB
36 | TOTAL